## Slide 1
01 / 13
DEEP LEARNING SYSTEMS — NYU COURANT
Multi-Organ Segmentation for Head & Neck Cancer
A systematic study of training strategies for 3D medical image segmentation on CT scans with 9 anatomical structures.
PDDCA15 · MONAI · PyTorch

## Slide 2
02 / 13
MOTIVATION
The Problem
Radiation therapy for head & neck cancer requires precise delineation of organs-at-risk. Manual segmentation is slow, costly, and inconsistent.
CHALLENGE 1
Class Imbalance
OARs occupy <5% of volume. Naive models predict only background.
CHALLENGE 2
Memory Limits
A single 3D volume + UNet can exceed 30 GB, forcing batch = 1.
CHALLENGE 3
Limited Data
Only 33 training volumes — high risk of overfitting.

## Slide 3
03 / 13
DATASET
PDDCA15 — 9 Organs at Risk
▸
Brain Stem
▸
Chiasm
▸
Mandible
▸
Optic Nerve (Left & Right)
▸
Parotid Gland (Left & Right)
▸
Submandibular (Left & Right)
TRAINING
33 CT volumes
PDDCA15 + Cetuximab + PET-CT
TESTING
5 CT volumes
AVG. VOLUME
78 × 206 × 164

## Slide 4
04 / 13
METHODS
Model Architectures
Three 3D architectures from MONAI, all with 10-channel output (background + 9 OARs).
BASELINE
UNet
Features: (32, 64, 128, 256) 3 downsampling levels
0.682
BEST
Deeper UNet
Features: (32, 64, 128, 256, 512, 32) 5 downsampling levels
0.755
ALTERNATIVE
SegResNet
Residual blocks, deconv upsampling 1.19M parameters
0.660
Key finding: Model depth is critical. Small structures (chiasm, optic nerves) get zero Dice with shallow networks.

## Slide 5
05 / 13
RESULTS
Loss Function Comparison
Dice-CE Loss
0.737
Dice Loss
0.701
Dice-Focal
0.695
Masked Dice
0.680
Tversky
0.634
Focal
0.632
Gen. Dice
0.250
+3.6% over Dice alone. CE provides gradients for large structures; Dice focuses on small organs.

## Slide 6
06 / 13
RESULTS
Data Augmentation
STANDARD (EPOCH 1)
Elastic
0.710
Affine
0.708
Zoom
0.701
Sp. Crop
0.685
No Aug.
0.684
DELAYED (EPOCH 40)
Elastic
0.728
Affine
0.705
Zoom
0.696
No Aug.
0.684
Sp. Crop
0.669
Delayed elastic deformation is best (+4.4% over baseline). Learn basics first, augment later.

## Slide 7
07 / 13
RESULTS
Effective Batch Size
Gradient accumulation simulates larger batches despite memory constraints (physical batch = 1).
WITH LR SCALING
BSZ | Dice | Epoch
2 | 0.688 | 130
4 | 0.661 | 80
16 | 0.647 | 100
8 | 0.645 | 110
WITHOUT LR SCALING
BSZ | Dice | Epoch
4 | 0.692 | 70
8 | 0.679 | 340
16 | 0.678 | 190
2 | 0.666 | 140
Linear LR scaling does not hold for 3D segmentation with variable-sized inputs. Moderate BSZ (2–4) works best.

## Slide 8
08 / 13
RESULTS
Data Parallelism & Input Resolution
MULTI-GPU TRAINING
4 GPUS
0.668
2 GPUS
0.651
1 GPU
0.647
More GPUs converge faster per wall-clock time
Requires resizing all volumes to the same dimensions for batching.
INPUT RESOLUTION
1.0x (base)
0.684
1.2x
0.647
0.8x
0.584
1.4x
0.562
Non-monotonic: larger inputs exceed the receptive field.

## Slide 9
09 / 13
RESULTS
Self-Supervised Pretraining
Initialized encoder with Models Genesis weights (pretrained on chest CT via self-supervised proxy tasks).
WITH PRETRAINING
0.675
Best at epoch 60
WITHOUT PRETRAINING
0.672
Best at epoch 80
Modest benefit (+0.3%). Pretraining accelerates early convergence but the gap closes with longer training. Domain shift (chest → head/neck) limits transfer.

## Slide 10
10 / 13
SUMMARY
Best Configuration Per Category
Experiment | Best Config | Mean Dice
Model Architecture | Deeper UNet | 0.755
Loss Function | Dice-CE | 0.737
Delayed Augmentation | Random Elastic | 0.728
Standard Augmentation | Random Elastic | 0.710
Eff. BSZ (No LR Scale) | Batch Size 4 | 0.692
Eff. BSZ (LR Scale) | Batch Size 2 | 0.688
Input Resolution | 1.0x (base) | 0.684
SSL Pretraining | With Pretraining | 0.675
Data Parallelism | 4 GPUs | 0.668

## Slide 11
11 / 13
DISCUSSION
Key Insights
1. MODEL DEPTH MATTERS MOST
Deeper UNet: 0.755. Shallow networks produce zero Dice for small structures like chiasm and optic nerves.
2. COMBINE LOSS FUNCTIONS
Dice-CE improves over Dice alone by +3.6%. CE covers large structures, Dice focuses on small organs.
3. AUGMENT AFTER WARM-UP
Delayed elastic deformation: +4.4%. The model learns basic features before seeing augmented data.
4. BATCH SIZE & LR INTERACT
Linear LR scaling fails for variable-sized 3D volumes. Moderate batch sizes (2–4) without scaling work best.

## Slide 12
12 / 13
LIMITATIONS & FUTURE WORK
What's Next?
LIMITATIONS
▸
Fixed train/test split, no cross-validation
▸
Only Dice metric — no Hausdorff distance
▸
Small test set (5 patients)
▸
No ensemble methods explored
FUTURE DIRECTIONS
▸
K-fold cross-validation with confidence intervals
▸
Hausdorff distance & surface DSC metrics
▸
Attention mechanisms (Swin UNETR)
▸
nnU-Net self-configuring pipeline

## Slide 13
13 / 13
CONCLUSION
Deeper models + hybrid loss + delayed augmentation = 0.755 Dice
Across 30+ experiments in 8 categories, model depth, loss design, and smart augmentation are the three most impactful training strategies for 3D medical image segmentation.
NYU Courant · Deep Learning Systems · PDDCA15 · MONAI · PyTorch